## Slide 1
2013 HIE ISOLDE work in the ISOLDE hall
Implications for the Users
66th Isolde Collaboration Committee
CERN, 29 Jan 2013
HIE-ISOLDE
Erwin Siesling on behalf of the HIE integration team

## Slide 2
Outline
  Hie-Isolde – 2013: work in the hall 170
  Hall 170 preparations
  Cooling & Ventilation
  Civil engineering & shielding tunnel
  Metal structures
  Survey work
  Cable trays & cabling, power distribution
  Infrastructure tunnel & HEBT
  Safety systems

## Slide 3
Safety first
Safety shoes & helmet mandatory for LS1 (and after?)
For all users and staff entering the ISOLDE hall
+
+

## Slide 4
2013 Co-Activities Hall 170
EDMS: Projects – Accelerators - Hie-Isolde – Infrastructure & Integration - Planning
https://edms.cern.ch/nav/P:CERN-0000072786:V0/P:CERN-0000090679:V0/TAB3

## Slide 5
2013 Co-Activities Hall 170

## Slide 6
Safety systems
Ana-Paula Bernardes EN/STI: All HIE Isolde relate safety issues
2013 Co-Activities Hall 170

## Slide 7
Preparations – until March
  Emptying the extension & work zones
  Water cut as of 15 Feb – dismantling existing water station B197
  Electrical installation activities - transformers
  Dismounting existing REX beamlines
  Implications for the users:
  Clearing the areas: storage and removal (M. Kowalska, M, Pfutzner, J. Thiboud & users)
  No cooling water available till end Summer 2013
  No power-cuts foreseen (if - then info in time)
  High activity around the REX lines as of 15 Feb

## Slide 8
Emptying the hall
Extension to be empty by March 2013

## Slide 9
Emptying the hall
Situation today: Many thanks to all !

## Slide 10
Dismounting REX lines
Dismounting existing REX lines as of 16 Feb

## Slide 11
Prepare work zones
TAS: Dismount detector and table before mid March
RF: Dismount dummy load before mid March

## Slide 12
Cooling & Ventilation
  Air ducts on roof and along wall in the extension
  Ventilation diffusers in the extension
  Extraction ventilators on the roof
  Implications for the users:
  Work at heights: stay out of the extension
  Use B.601 entrance at the back of Isolde
  Noise & (minor) dust – protect stored equipment (extension)
  Restricted use of the overhead crane
Hall Cooling & Ventilation work Feb - May 2013

## Slide 13
Ventilation on the roof
Roof ventilator units

## Slide 14
Hall storage space
Storage space
Miniball, β-NMR & scattering chamber
240cm
220cm
750cm
750cm

## Slide 15
Hall 170 ventilation systems
platform
wall
wall
wall
1st extension
2nd extension
New ducts
New diffusers
existing duct

## Slide 16
Civil Engineering
  Cutting the platform wall
  Excavating cable trench(es)
  Adaptation and construction of the tunnel
  Implications for the users:
  Make sure the areas are free and equipment protected (TAS experiment)
  No dust foreseen.. Relatively clean cutting using water both for wall as for trench cutting
  Transport of heavy concrete blocks: stay away!
  Use of overhead crane in high demand
  Noise
Civil Engineering work March – Autumn 2013

## Slide 17
End existing tunnel
Extension future shielding
Civil Engineering in the hall
Wall to be cut
Tunnel, walls and tranches March – Aug 2013

## Slide 18
New trenches
Civil Engineering in the hall
Tunnel, walls and tranches March – Aug 2013

## Slide 19
Modification blindage
Shielding tunnel

## Slide 27
Metal structures
  Adaptation of the platform for the racks: - removal wooden floor - installation steel beams false floor - adaptation or removal stairs
  Installation platform for Cryo Jumper Boxes
  Implications for the users:
  Graining, cutting and welding on the platform: protect / remove equipment underneath
  Noise
Metal structures May – Oct 2013

## Slide 28
Metal structures
Platforms modification and installation April – Sept 2013
Platform system racks
Platform cryo jumper boxes

## Slide 29
Metal structures
Platforms modification and installation April – Sept 2013

## Slide 30
Metal structures
Platforms modification and installation April – Sept 2013

## Slide 31
Metal structures
Platforms modification and installation April – Sept 2013
Access to Nicole

## Slide 32
Metal structures
Platforms Cryo Jumper Boxes July – Sept 2013

## Slide 33
Metal structures
Platforms Cryo Jumper Boxes July – Sept 2013

## Slide 34
Cabling and infrastructure
  Large cable trays and cables campaign: - rack platform internal - rack platform into tunnel - inside tunnel - rack platform to HEBT - ex-entrance & B199 into tunnel
  Power distribution
  Infrastructure tunnel & HEBT
  Implications for the users:
  No power-cuts foreseen (if - then info in time)
Cables & connectors Nov 2013 – April 2014
Cable trays Aug – Nov 2013

## Slide 35
B. 170
B. 198
B. 199
Cable trays and cabling
Cable trays and cabling Aug 2013 – March 2014

## Slide 36
Racks sub systems
15 dipole power convertor racks
5 instrumentation racks
5 vacuum racks
4 interlock racks
7 dipole power convertor racks
19 steerer/quads power convertor racks
Power distribution cabinet
Experimental hall 170
Cable trays and cabling March – Mai 2014

## Slide 37
Tunnel cabling and tubing
RF cables, Cryo flexibles & He release

## Slide 38
Cabling & infrastructure
Cable trays and cabling March – Mai 2014

## Slide 39
Summary
  Hie-Isolde – 2013: work in the hall 170
  Main rule: avoid the extension & tunnel area
  Use entrance at the back B.601
  Hazards: Noise, dust and handling of heavy weights
  Restricted use of the crane: Feb - May 2013
  High demand of crane use: March – Autumn 2013
  Coordination M. Kowalska, M. Pfutzner, E. Siesling
  Planning on EDMS: HIE-ISOLDE integration

## Slide 40
Safety first
Stay away from the work areas & Use entrance B.601
For all users and staff entering the ISOLDE hall
+
+

## Slide 41
HIE ISOLDE integration
GS/SE : DANIEL PARCHET, ELISEO PEREZ-DUENAS
EN/MEF : STEPHANE MARIDOR, ELEFTHERIOS ZOGRAFOS
BE/ABP : FREDERIK WENANDER
BE/OP : DIDIER VOULOT
PH/SME : YORICK BLUMENFELD, MARIA BORGE
EN/HDO : YACINE KADI
BE/RF : MATTEO PASINI, MATTHEW FRASER, DANIEL VALUCH, WALTER VENTURINI, LUCA ARNAUDON
EN/CV : PAUL PEPINSTER, BENOIT LACARELLE
EN/EL : RENE NECCA, JEAN-CLAUDE GUILLAUME, GEORGI GEORGIEV, JEAN-PIERRE BILLON-GRAND EN/EL
TE/CRG : NICOLAS DELRUELLE, JOS METSELAAR
EN/STI : RICHARD CATHERALL, ANA-PAULA BERNARDES
GS/DI : CYRILLE BEDEL
TE/MSC : JEAN-PHILIPE TOCK, YANN LECLERCQ, LLOYD WILLIAMS, ARNAUD BOUZOUD
DSG/RP : JOACHIM VOLLAIRE, SANDRA GIRON
TE/ABT : BRENNAN GODDARD

## Slide 42
Thank you for your attention