tatus of RILIS

Presented by V.Fedosseev to ISCC       Geneva, 30 September 2003

Involvement of RILIS in the ISOLDE program.

| #### Year | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Laser setup operation time, hours | 490 | 348 | 486 | 1679 | 1267 | 547 | 1203 | 1429 | 1787 | 1850 |
| Ionized elements | Ag Ni | Ag | Ag Mn | Be Cd Cu Ni Mn Zn | Ag Be Cd Cu Ni Mg Mn Sn | Ag Be Cu Mn Pb Sn | Ag Al Be Bi Ca Co Cu Ga Mn Pb Sn Tl | Ag Be Bi Cd Cu Ga In Mg Pb Tb Tl Y Yb Zn | Ag Be Bi Cd Cu Ga Mg Mn Pb Sn Tl Zn | Ag Be Bi Cu Ga Ni Mg Mn Pb Sb Sc Y Zn |
| #### Experiments | IS333 IS335 | IS333 IS335 IS345 | IS335 IS359 | IS304 IS333 IS335 IS345 IS353 IS358 IS359 | IS333 IS335 IS345 IS358 IS359 IS365 IS366 | IS335 IS345 IS358 IS359 IS364 IS368 IS369 | IS333 IS335 IS345 IS358 IS359 IS365 IS368 IS369 IS374 IS378 IS387 | IS333 IS335 IS363 IS368 IS369 IS373 IS374 IS387 IS393 IS403 IS406 I33 | IS302 IS333 IS343 IS345 IS359 IS360 IS368 IS369 IS378 IS381 IS387 IS390 IS391 IS393 IS396 IS401 IS403 IS404 IS406 IS410 | IS335 IS348 IS359 IS368 IS369 IS375 IS387 IS396 IS401 IS402 IS403 IS406 IS407 IS410 IS412 IS413 |

MANPOWER (2003)

Operation

- V. Fedosseev,  AB-ATB/LP – 57 % of contractual time, including development;

- B. Marsh, Ph.D. student, University of Manchester – 50 % of time, including development;

- D. Fedorov or A. Ionan, PNPI (Gatchina) – approximately 4 months

- E. Tengborn, tech. student, Chalmers University – 6 months (2003 only)

Development

- G. Suberlucq, AB-ATB/LP – 20 % of time

- E. Chevallay,  AB-ATB/LP – 30 % of time

- D. Grancharova, CERN technical student (until 1.03.2004)

RILIS in the ISOLDE Consolidation Project

Allocated: 	220 kCHF (Collaboration budget)

Committed: 	114 kCHF + 21 kCHF from CERN budget

- Laser hut extension – done, 2001

- Remote controlled beam tuning – done, 2002

- Laser beam diagnostics – in progress, 2003

To spend:  ≈ 10 kCHF

- CVL beam guidance (screening of the laser beams) –  2004

To spend:  ≈  50 kCHF

- Automated beam positioning –  2004

- Automated laser power monitoring –  2004

To spend:  ≈ 45 kCHF

Upgrade of Lasers

The present status of the laser system does not provide the reliable RILIS operation. The following possibilities of upgrading RILIS lasers have been considered:

- Improvements in the existing CVL - dye laser system.

Following actions are taken recently:

- New CVL oscillator with new power supply – ordered (39 kCHF)

- New DC power supplies for CVL amplifiers – ordered (39 kCHF)

57 kCHF from CERN and 21 kCHF from ISOLDE Collaboration

– The equipment will be installed during the shutdown 2003.

- Replacement of the old CVL by new CVL available on the market.

- Offer from “Oxford Lasers ltd.” -  246 k₤ (app. 550 kCHF)

  - Longer pulse – less efficiency for UV light generation.

  - More space is required for laser setup.

  - Too big investment for a temporal solution

– This way is considered as ineffective

- Replacement of the CVL by solid-state lasers (SSL).

Results of the laser market survey:

| Manufacturer | Model | Power/unit, W | Price, kCHF | Price for 80 W system |
| --- | --- | --- | --- | --- |
| Lambda Physics AG | PowerGator PG532-15 | 14 | 243 | 6 units = 1460 |
| Lightwave Electronics Corp. | Q201-SM-E | 15 | 72 | 6 units = 556 |
| Photonics Industries International, Inc. | DS20H-532 | 40 |  | 2 units = 560 |

- Some work on adapting the dye lasers to SSL pumping is required

- The investment will not be lost at the next step of upgrading

- Creating a new fully solid-state laser system.

Problems:

  - The need for very high powers compared to the state of the art for these types of laser.

  - The need to generate high powers in the UV which will require frequency multiplication from the IR.

  - The reliability of such a system would be questionable given the powers required and the number of state of the art units used.

  - The use of lasers of this type would probably require the ionization routes to be re-optimized as it is unlikely that the attractive wavelengths for the all solid state system would correspond to those currently obtained from the dye system.

# Planning

- Short term (2003-2005) – improvement of  the actual setup in order to provide as far as possible the conditions for reliable RILIS operation  during.

- Middle term (2005-2006) –

- Implementation of a solid state laser as a complimentary source for pumping dye lasers and as a source of ionizing beam for transitions to continuum

- Replacement of all CVL by SSL– app. 500 kCHF.

Funds to be accumulated during 2003-2004

- Long term (2006-2008) – replacement of the dye lasers by the new wavelength-tunable solid state laser system  which could be delivered as a result of the R&D in the frame of JRA “LASER” of EURONS

###### Pumping lasers would not be changed